## ISO27001_CONTROLS
ISO-ID | Dimension | Control | Nature | Standard | Clause | Applicability | Condition
ISO-01 | Process and Documentation | Define log analysis procedure (the necessary skills for the experts performing the analysis; determining the procedure of log analysis; the required attributes of each security-related event; exceptions identified through the use of predetermined rules; known behaviour patterns and standard network traffic compared to anomalous activity and behaviour; results of trend or pattern analysis; available threat intelligence.) | Procedural | ISO27002 | 8.15 | Unconditional
ISO-02 | Process and Documentation | The organization should determine the purpose for which logs are created, what data is collected and logged, and any log-specific requirements for protecting and handling the log data documented in a topic-specific policy on logging. | Procedural | ISO27002 | 8.15 | Unconditional
ISO-03 | Process and Documentation | The monitoring scope and level should be determined in accordance with business and information security requirements and taking into consideration relevant laws and regulations. | Procedural | ISO27002 | 8.16 | Unconditional
ISO-04 | Log Content | Event logs should include for each event (as applicable): user IDs; system activities; dates, times and details of relevant events (e.g. log-on and log-off); device identity, system identifier and location; network addresses and protocols. | Primary | ISO27002 | 8.15 | Unconditional
ISO-05 | Log Handling and Protection | Logging system should use a consistent, trusted date and time source to ensure accurate time-stamps. | Primary | ISO27002 | 8.17 | Unconditional
ISO-06 | Monitoring and Analysis | Logging and monitoring in networks should be implemented to record and detect actions that can affect, or are relevant to, information security. | Primary | ISO27002 | 8.20 | Conditional | If network monitoring is implemented.
ISO-07 | Log Handling and Protection | Logs that record activities, exceptions, faults, and other relevant event shall be protected. | Primary | ISO27001 | 8.15 | Unconditional
ISO-08 | Log Handling and Protection | Protect logs against unauthorized changes and logging failures (alterations to the recorded message types, log files being edited or deleted, failure to record, overwrite of past recorded events) | Primary | ISO27002 | 8.15 | Unconditional
ISO-09 | Log Handling and Protection | Privileged users should not be able to delete or deactivate logs of their own activities. | Primary | ISO27002 | 8.15 | Conditional | If privileged users exist.
ISO-10 | Log Handling and Protection | Maintain monitoring records for defined retention periods. | Primary | ISO27002 | 8.16 | Unconditional
ISO-11 | Logging Scope | Successful and rejected system access attempts should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-12 | Logging Scope | Successful and rejected data and other resource access attempts should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-13 | Logging Scope | Changes to system configuration should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-14 | Logging Scope | Use of privileges should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-15 | Logging Scope | Use of utility programs and applications should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-16 | Logging Scope | Files accessed and the type of access, including deletion of important data files should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-17 | Logging Scope | Alarms raised by the access control system should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-18 | Logging Scope | Activation and de-activation of security systems, such as anti-virus systems and intrusion detection systems should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-19 | Logging Scope | Creation, modification or deletion of identities should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-20 | Logging Scope | Transactions executed by users in applications. In some cases, the applications are a service or product provided or run by a third party should be considered for logging. | Primary | ISO27002 | 8.15 | Unconditional
ISO-21 | Logging Scope | Logs that record activities, exceptions, faults, and other relevant event shall be produced. | Primary | ISO27001 | 8.15 | Unconditional
ISO-22 | Logging Scope | Key management related activities should be logged and audited. | Primary | ISO27002 | 8.24 | Conditional | If cryptographic key management exists.
ISO-23 | Logging Scope | An audit log of all updates to operational software should be maintained. | Primary | ISO27002 | 8.19 | Conditional | If there are software updates.
ISO-24 | Logging Scope | All use of utility programs that can be capable of overriding system and application controls should be logged. | Primary | ISO27002 | 8.18 | Conditional | If privileged utility programs exist/are permitted.
ISO-25 | Logging Scope | Changes to control programs carried out by operating personnel can be considered for logging. | Primary | ISO27019 | 8.15 | Conditional | If operating personnel performs these actions.
ISO-26 | Logging Scope | Parameter or setpoint changed carried out by operating personnel can be considered for logging. | Primary | ISO27019 | 8.15 | Conditional | If operating personnel performs these actions.
ISO-27 | Logging Scope | Switching operations carried out by operating personnel can be considered for logging. | Primary | ISO27019 | 8.15 | Conditional | If operating personnel performs these actions.
ISO-28 | Logging Scope | Control operations carried out by operating personnel can be considered for logging. | Primary | ISO27019 | 8.15 | Conditional | If operating personnel performs these actions.
ISO-29 | Logging Scope | Changes to the configuration of safety systems should be logged. | Primary | ISO27019 | 8.36 | Conditional | If safety functions exist.
ISO-30 | Log Handling and Protection | Logs that record activities, exceptions, faults, and other relevant event shall be stored. | Primary | ISO27001 | 8.15 | Unconditional
ISO-31 | Log Handling and Protection | The organization can use multiple external time sources to improve readability of external clocks, and appropriately manage any variance. | Procedural | ISO27002 | 8.17 | Conditional | If external time sources are used.
ISO-32 | Log Handling and Protection | A reference clock (clock linked to a radio time broadcast from a national atomic clock or global positioning system (GPS)) should be used for logging systems. | Primary | ISO27002 | 8.17 | Unconditional
ISO-33 | Log Handling and Protection | Protocols such as network time protocol (NTP) or precision time protocol (PTP) should be used to keep all networked systems in synchronization with a reference clock. | Primary | ISO27002 | 8.17 | Conditional | If networked systems exist.
ISO-34 | Monitoring and Analysis | Configure automated monitoring software to generate alerts based on predefined thresholds, tune and train on the organization’s baseline to minimize false positives. | Primary | ISO27002 | 8.16 | Conditional | If automated monitoring is used.
ISO-35 | Monitoring and Analysis | There should be redundant systems and processes in place to receive and respond to alert notifications generated by configured automated monitoring software. | Primary | ISO27002 | 8.16 | Conditional | If automated monitoring is used.
ISO-36 | Monitoring and Analysis | Networks, systems and applications shall be monitored for anomalous behaviour. | Primary | ISO27001 | 8.16 | Unconditional
ISO-37 | Monitoring and Analysis | Appropriate actions shall be taken to evaluate potential information security incidents. | Primary | ISO27001 | 8.16 | Unconditional
ISO-38 | Monitoring and Analysis | The organization should employ technologies to monitor for anomalous communications. | Primary | ISO27002 | 8.16 | Unconditional
ISO-39 | Monitoring and Analysis | Appropriate action should be taken in response to detected anomalous communications. | Primary | ISO27002 | 8.16 | Conditional | When anomalous communications are detected.
ISO-40 | Monitoring and Analysis | Establish a baseline of normal behaviour and monitor against this baseline for anomalies. | Primary | ISO27002 | 8.16 | Unconditional
ISO-41 | Monitoring and Analysis | Logs that record activities, exceptions, faults, and other relevant event shall be analysed. | Primary | ISO27001 | 8.15 | Unconditional
ISO-42 | Monitoring and Analysis | Log analysis should cover the analysis and interpretation of information security events, to help identify unusual activity or anomalous behaviour, which can represent indicators of compromise. | Primary | ISO27002 | 8.15 | Unconditional
ISO-43 | Monitoring and Analysis | Correlate logs to improve accuracy and efficiency of analysis. | Primary | ISO27002 | 8.15 | Conditional | If multiple log sources exist.
ISO-44 | Process and Documentation | Application security requirements should include requirements derived from the business process, such as transaction logging and monitoring, nonrepudiation requirements; | Foundational | ISO27002 | 8.26 | Conditional | When specifying application security requirements.
ISO-45 | Process and Documentation | Application security requirements should include requirements mandated by other security controls (e.g. interfaces to logging and monitoring). | Foundational | ISO27002 | 8.26 | Conditional | When specifying application security requirements.
ISO-46 | Logging Scope | Accesses and changes to source code should be logged. | Primary | ISO27002 | 8.4 | Conditional | If source code repositories exist and are managed.
ISO-47 | Logging Scope | After code has been made operational, errors and suspected attacks should be logged. | Primary | ISO27002 | 8.28 | Conditional | If operational code exists and generates error/attack events.
ISO-48 | Monitoring and Analysis | After code has been made operational, logs should be regularly reviewed to make adjustments to the code as necessary. | Primary | ISO27002 | 8.28 | Conditional | If operational code error logs are generated.
ISO-49 | Monitoring and Analysis | In exceptional situations, when a single person can make changes to both development and production, detailed logging and real-time monitoring should be implemented in order to detect and act on unauthorized changes. | Primary | ISO27002 | 8.31 | Conditional | When a single person can make changes to both development and production.
ISO-50 | Logging Scope | Copying and use of operational information for testing should be logged to provide an audit trail. | Primary | ISO27002 | 8.33 | Conditional | When operational information is copied or used for testing.
ISO-51 | Logging Scope | All access for audit purposes should be monitored and logged. | Primary | ISO27002 | 8.34 | Conditional | When audit is performed.
ISO-52 | Logging Scope | All access for test purposes should be monitored and logged. | Primary | ISO27002 | 8.34 | Conditional | When testing is performed.
ISO-53 | Monitoring and Analysis | Use continuous monitoring in real time or in periodic intervals via a monitoring tool that includes the ability to handle large amounts of data, adapts to a constantly changing threat landscape, and allows for real-time notification. | Primary | ISO27002 | 8.16 | Conditional | If baseline-based monitoring is used.
ISO-54 | Logging Scope | Logging all privileged access to systems for audit purposes should be considered. | Primary | ISO27002 | 8.2 | Unconditional
ISO-55 | Logging Scope | The change control procedures should include maintaining records of changes that include planning and assessing the potential impact of changes considering all dependencies; authorization of changes; communicating changes to relevant interested parties; tests and acceptance of tests for the changes; implementation of changes including deployment plans; emergency and contingency considerations including fall-back procedures; | Primary | ISO27002 | 8.32 | Unconditional
ISO-56 | Logging Scope | An audit log should be kept for all steps undertaken in technical vulnerability management. | Primary | ISO27002 | 8.8 | Unconditional

## IEC62443_CONTROLS
IEC-ID | Dimension | Control | Nature | Standard | Clause | Applicability | Condition
IEC-01 | Governance and Authorization | Remote access to IACS must be explicitly authorized by the asset owner. | Foundational | IEC62443 2-1 | 8.4.2.1 | Unconditional
IEC-02 | Process and Documentation | The asset owner shall have policies and procedures for logging all interactive remote access connections. | Procedural | IEC62443 2-1 | 8.4.2.1 | Conditional | If remote access is authorized by the asset owner.
IEC-03 | Process and Documentation | The asset owner shall have policies and procedures for monitoring all interactive remote access connections. | Procedural | IEC62443 2-1 | 8.4.2.1 | Conditional | If remote access is authorized by the asset owner.
IEC-04 | Logging Scope | Remote access to IACS shall be logged. | Primary | IEC62443 2-1 | 8.4.2.1 | Conditional | If remote access is authorized by the asset owner.
IEC-05 | Monitoring and Analysis | Logged remote access to IACS activity shall be monitored. | Primary | IEC62443 2-1 | 8.4.2.1 | Conditional | If remote access is authorized by the asset owner.
IEC-06 | Process and Documentation | Procedures should be defined for logging detected IACS security-related events. | Procedural | IEC62443 2-1 | 12.2.1.1, 12.2.4.1 | Unconditional
IEC-07 | Monitoring and Analysis | IACS security-related events should be detectable through monitoring or through active mechanisms that identify specific security event conditions as they occur. | Primary | IEC62443 2-1 | 12.2.1.2 | Unconditional
IEC-08 | Logging Scope | Categories of IACS security-related events to be considered for logging shall be identified (examples: valid and invalid login attempts, access to controlled commands and data, OS events, IACS events, backup and restore events, configuration changes, and potential reconnaissance activity and audit log events). | Foundational | IEC62443 2-1 | 12.2.1.2 | Unconditional
IEC-09 | Log Content | IACS event logs shall record appropriate and adequate information to support review, analysis, and response. | Primary | IEC62443 2-1 | 12.2.5.2 | Unconditional
IEC-10 | Process and Documentation | The required properties of events that should be recorded must be determined based on assessed analysis needs. | Procedural | IEC62443 2-1 | 12.2.5.2 | Unconditional
IEC-11 | Log Handling and Protection | Protection for event and audit logs should be determined and applied. | Primary | IEC62443 2-1 | 12.2.4.2 | Unconditional
IEC-12 | Log Handling and Protection | IACS event and audit logs shall be retained for a period sufficient to support analysis, response, forensic needs, based on risk. | Primary | IEC62443 2-1 | 12.2.4.2 | Unconditional
IEC-13 | Process and Documentation | The asset owner shall have policies and procedures around utilizing interfaces commonly accepted by the industrial and security communities to access IACS security-related audit and event logs. | Procedural | IEC62443 2-1 | 12.2.6.1, 12.2.6.2 | Unconditional
IEC-14 | Logging Scope | Audit logs shall include all security-related events, including user activity and account management. | Primary | IEC62443 2-4 | SP.08.02 BR | Unconditional
IEC-15 | Monitoring and Analysis | The control system shall provide the capability to monitor all methods of access to the control system via untrusted networks. | Primary | IEC62443 3-3 | 5.15 SR 1.13 | Unconditional
IEC-16 | Governance and Authorization | Access via untrusted networks to geographically remote control system component locations (for example, control centres and field locations) should only be enabled when necessary and authenticated. | Foundational | IEC62443 3-3 | 5.15 SR 1.13 | Conditional | If untrusted network access exists.
IEC-17 | Monitoring and Analysis | If a component supports usage through wireless interfaces it shall provide the capability to integrate into the system that supports usage monitoring according to commonly accepted industry practices. | Primary | IEC62443 4-2 | 6.4 CR 2.2 | Conditional | If a component supports usage through wireless interfaces.
IEC-18 | Logging Scope | The control system/components of IACS shall provide the capability to generate audit records relevant to security for access control. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.10 SR 2.8, 6.10 CR 2.8 | Unconditional
IEC-19 | Logging Scope | The control system/components of IACS shall provide the capability to generate audit records relevant to security for request errors. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.10 SR 2.8, 6.10 CR 2.8 | Unconditional
IEC-20 | Logging Scope | The control system/components of IACS shall provide the capability to generate audit records relevant to security for operating system events. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.10 SR 2.8, 6.10 CR 2.8 | Unconditional
IEC-21 | Logging Scope | The control system/components of IACS shall provide the capability to generate audit records relevant to security for control system events. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.10 SR 2.8, 6.10 CR 2.8 | Unconditional
IEC-22 | Logging Scope | The control system/components of IACS shall provide the capability to generate audit records relevant to security for backup and restore events. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.10 SR 2.8, 6.10 CR 2.8 | Unconditional
IEC-23 | Logging Scope | The control system/components of IACS shall provide the capability to generate audit records relevant to security for configuration changes. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.10 SR 2.8, 6.10 CR 2.8 | Unconditional
IEC-24 | Logging Scope | The control system/components of IACS shall provide the capability to generate audit records relevant to security for potential reconnaissance activity. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.10 SR 2.8, 6.10 CR 2.8 | Unconditional
IEC-25 | Logging Scope | The control system/components of IACS shall provide the capability to generate audit records relevant to security for audit log events. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.10 SR 2.8, 6.10 CR 2.8 | Unconditional
IEC-26 | Log Content | Individual audit records of IACS components shall include: a) timestamp; b) source (originating device, software process or human user account); c) category; d) type; e) event ID; and f) event result. | Primary | IEC62443 4-2 | 6.10 CR 2.8 | Unconditional
IEC-27 | Process and Documentation | The security policies and procedures should define auditable events that are adequate to support after-the-fact investigations of security incidents. | Procedural | IEC62443 3-3 | 6.10 SR 2.8 | Unconditional
IEC-28 | Log Handling and Protection | The control system shall provide the capability to centrally manage audit events. | Primary | IEC62443 3-3 | 6.10 SR 2.8 | Unconditional
IEC-29 | Monitoring and Analysis | The control system shall provide the capability to compile audit records from multiple components throughout the control system into a systemwide (logical or physical), time-correlated audit trail. | Primary | IEC62443 3-3 | 6.10 SR 2.8 | Unconditional
IEC-30 | Log Handling and Protection | The control system shall provide the capability to export compiled audit records from multiple components in industry standard formats for analysis by standard commercial log analysis tools, for example, security information and event management (SIEM). | Primary | IEC62443 3-3 | 6.10 SR 2.8 | Unconditional
IEC-31 | Log Handling and Protection | The control system/components shall allocate sufficient audit record storage capacity according to commonly recognized recommendations for log management and system configuration. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.11 SR 2.9, 6.11 CR 2.9 | Unconditional
IEC-32 | Log Handling and Protection | The control system/components shall provide auditing mechanisms to reduce the likelihood of audit record storage capacity being exceeded. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.11 SR 2.9, 6.11 CR 2.9 | Unconditional
IEC-33 | Log Handling and Protection | The audit storage capacity should be sufficient to retain logs for a period of time required by applicable policies and regulations or business requirements. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.11 SR 2.9, 6.11 CR 2.9 | Unconditional
IEC-34 | Monitoring and Analysis | The control system/components shall provide the capability to issue a warning when the allocated audit record storage volume reaches a configurable percentage of maximum audit record storage capacity. | Primary | IEC62443 3-3, IEC62443 4-2 | 6.11 SR 2.9, 6.11 CR 2.9 | Unconditional
IEC-35 | Log Handling and Protection | Components that rely on the system into which they are integrated to provide the majority of audit storage capacity should provide enough local storage to buffer audit data until it can be sent to the system. | Primary | IEC62443 4-2 | 6.11 CR 2.9 | Conditional | If components rely on system storage.
IEC-36 | Log Content | Audit records should have timestamps (including date and time), generated using internal system clocks. | Primary | IEC62443 3-3 | 6.13 SR 2.11 | Unconditional
IEC-37 | Log Handling and Protection | The time source should be protected from unauthorized alteration. | Primary | IEC62443 3-3 | 6.13 SR 2.11 | Unconditional
IEC-38 | Log Handling and Protection | Components shall protect audit information, audit logs, and audit tools (if present) from unauthorized access, modification and deletion. | Primary | IEC62443 4-2 | 7.11 CR 3.9 | Unconditional
IEC-39 | Log Handling and Protection | Authorized humans and tools shall be able to access audit logs on a read-only basis. | Primary | IEC62443 3-3, IEC62443 4-2 | 10.3 SR 6.1, 10.3 CR 6.1 | Unconditional
IEC-40 | Log Handling and Protection | The control system/components shall provide programmatic access to audit records using an application programming interface (API) or sending the audit records to a centralized system. | Primary | IEC62443 3-3, IEC62443 4-2 | 10.3 SR 6.1, 10.3 CR 6.1 | Conditional | Required at SL 2 and above; manual access is sufficient at SL 1.
IEC-41 | Monitoring and Analysis | The control system/components shall provide the capability to continuously monitor all security mechanism performance using commonly accepted security industry practices and recommendations to detect, characterize and report security breaches in a timely manner. | Primary | IEC62443 3-3, IEC62443 4-2 | 10.4 SR 6.2, 10.4 CR 6.2 | Unconditional
IEC-42 | Log Handling and Protection | Audit logs shall be included in system backups to support post-incident forensic analysis. | Primary | IEC62443 3-3 | 11.5 SR 7.3 | Conditional | If backups are implemented.
IEC-43 | Log Handling and Protection | Audit logs for security-related events require a higher level of integrity protection than provided by typical event logs. | Primary | IEC62443 2-4 | SP.08.02 RE(2) | Unconditional
IEC-44 | Logging Scope | Attempts to access diagnostic and test interfaces shall be actively monitored and recorded in audit logs. | Primary | IEC62443 4-2 | 13.3 EDR 2.13, 14.3 HDR 2.13, 15.5 NDR 2.13 | Unconditional